## Slide 1
Separation of Heart and Respiration signals using MATLAB
Dr. Ali Saad : Under supervision of
Graduation Project
BMT 468

## Slide 2: Content
1. Introduction
2. Methodology
3. Results
4. Conclusion

## Slide 3: :Principle of the system Radar motion sensing systems
:Radar Introduction Definition

## Slide 4
Electromagnetic Waves:
Definition
Microwaves:
Definition

## Slide 5: :Cardiac system Physiology and measurement
Respiratory system
Physiology and measurement

## Slide 6: Separation of heart beat and breathing

## Slide 7
? Why we using MATLAB 1-
MATLAB provide DSP algorithm designers, system architects, and embedded hardware and software engineers with a comprehensive set of tools that address the challenges of shortened design cycles for systems with increasing complexity. With MATLAB , you can:
Develop digital signal processing (DSP) algorithms
Model and simulate systems
Verify and validate your hardware and software implementations
Methodology:

## Slide 8: 2-Filters theory
Band-pass filter
High-pass filter
Low-pass filter

## Slide 9: Wavelets methods for separation
Daubechies wavelets
Biorthogonal wavelet
Wavelets decomposition theory
Description
Description
Description

## Slide 10: Results
1- Heart signal without respiration

## Slide 11
  Signal cutting up to 10 seconds
Applies data into low pass filter to make it look like Sine wave to determine number of peaks in 10 second which will be the heart rate in 10 second after that we can calculate heart rate in one minute.

## Slide 12: Steps
load c:\p3dbc.prn
Then we delete the first column which is the time

## Slide 13
Save it in text file.
Name it .
Open it as workspace.
t=0:10/4864:10
s=t'
Plot(s,f3)

## Slide 14
1-Save f3 as .mat file
Applied this wave to low and high bass filter to count number of pulses per minute by:
2-Opining wave menu in Matlab
3-Choosing wavelet 1-D
4-Load the signal
5-Choosing db with 10 levels

## Slide 15
Counting number of peaks in d8
Number of peaks in d8 =heart pulse rate in 10 second=13pulses
Number of pulses in one minute = 13*60/10=78 BPM

## Slide 16: 2- Heart and respiration signal

## Slide 17
Using db wavelet to separate the two signals

## Slide 18
Heart signal
No. of peaks = 11 in 10 second
In one minute = 60*11/10=66bpm (heart rate)
Respiration signal
No. of peaks = 2 in 10 second
In one minute = 60*2/10=12bpm (respiratory rate)

## Slide 19: Conclusion
This project provided us a good experience in signal processing on real biomedical signals. We also gain some experience in using Matlab signal processing package for this purpose. It also, introduces wavelets decomposition and wavelets techniques for signal processing issues.
After many research in the Internet, we have a good and clear background on the operations that we can do on signals. We also hope that in the future, we will be among those people who trait such scientific issues.

## Slide 20: Thank you
THE END